Tender Notice

No. Svcs/C&M/ Renovation Works / NRTC BO Lahore/2025

1.	Sealed bids are invited from reputable PEC Registered firms for following Renovation works at NRTC Business Office, Old Micro Electronic, 72 Industrial Estate, PECO Mor , PECO Road Kot Lakhpat , Lahore,  as per BOQ attached.

a.	Renovation of Admn Office (BOQ attached at Anx “A”)

b.	Construction of 2x Bath Room with Wazu Khana at Masjid

(BOQ attached at Anx “B”)

c.	Construction of Partition Wall (BOQ attached at Anx “C”)

2.	Terms and Conditions

- Earnest money Rs 300,000.00 (Three hundred thousand only) in the shape of Demand Draft / Pay Order in favour of NRTC, Haripur  (refundable) must be attached with Technical Proposal, otherwise bid will not be entertained. Tender will be opened on 17th April 2025 at 11:30 hrs at NRTC , Haripur .

- Bids complete in all respect i.e clearly signed / stamped will be considered fit for evaluation.

- Contractors are advised in their own interest to visit the site and inspect type of the work required to be done before submitting quotation. It will be deemed understood that the contractor has fully acquainted himself with the detailed nature of work. No claim on account of insufficient knowledge shall be entertained afterward.

- NRTC may reject all the bids at any time prior to the acceptance of bids as per Rule-33 of Public Procurement Rules 2004.

- Single stage two envelop process will be followed.

- The bidder will be backlisted in accordance with clause 19 (1) (b) of PPRA, if he fails to perform his contractual obligation during the execution of contract or breaches the contract due to his capacity and capability to perform or otherwise.

- Bids will be acceptable through tender box placed at NRTC alongwith bids received in post.

Office of GM Services

National Radio & Telecommunication Corporation

Haripur, KPK

Tel:   0995- 666801 Fax:  0995-610933

NRTC

Anx “A”

Renovation of Admn Office

| S/No | Description | Qty | Unit | Rate | Amount (Rs) |
| --- | --- | --- | --- | --- | --- |
| 1 | Supply and fixing of cermic tiles 2x4 (fixed with bond and filling), complete in all respect as per color approved by Engineer Incharge (Master, Time or equivalent) | 655 | sft |  |  |
| 2 | Supply and fixing of hard wall paneling , complete in all respect | 825 | sft |  |  |
| 3 | Electric works including switches, sockets and wiring etc , complete in all respect. | 1 | Job |  |  |
|  |  |  |  | G. Total Rs |  |

Anx “B”

Construction of 2x Bath Room with Wazu Khana at Masjid

| S/No | Description | Qty | Unit | Rate (Rs) | Estimated Amount |
| --- | --- | --- | --- | --- | --- |
| 1 | Excavation as in Ordinary Soil upto 1.5M depth, in foundation and pipe trenches upto 1.5M wide, in shafts, wells and independent holes upto 30 sqm each and throw earth clear of edges of excavation within 10M.Timbering to be paid extra. | 108 | cft |  |  |
| 2 | Dismantling old wash rooms | 1 | Job |  |  |
| 3 | Providing/Laying of CC 1:4:8 using Crushed or Broken stone grade as specified. | 50 | Cft |  |  |
| 4 | Providing & Laying of RCC 3000 psi compressive cylinderical strength in roof slabs, landings, walls, plinth beams and bands etc , all as specified incuding form work (reinforcement measured and paid serpatelly ) | 50 | cft |  |  |
| 5 | Burnt brick work, in walls 115mm thick, laid and jointed in CM 1:6, Straight or to curve with inner radius of 6m and over, upto G.F roof level. | 430 | cft |  |  |
| 6 | Earth filling as in Ordinary or hard Soil, filling in foundation, pipe trenches, shafts, wells, independent holes, under floors or around plinths etc. 1.5 M below or above ground level,(GL) with spoil obtained from excavation in trenches/over areas within 10 M including watering and compaction in 150mm layer and dressing to required profiles and shape. | 300 | cft |  |  |

| 7 | Providing/Laying of RCC type B using crushed or broken stone in Slabs, columns, beams, stairs, posts, struts, pairs, lintels, and like requiring shuttering, as specified. Reinforcement measured and paid separately. | 80 | cft |  |  |
| --- | --- | --- | --- | --- | --- |
| 8 | 13mm thick Cement Plaster 1:4 finished as specified. | 890 | sft |  |  |
| 9 | Providing & fixing in position Aluminum frame glazed partially sliding doors consisting of heavy Delux anodized sections 2mm thick manufactured by M/s Chawala, Prime, and Pakistan Cable and assembled by approved fabricators. This rate includes Aluminum sliding wire gauze shutter best quality imported fitting incl PVC gasket and 5mm thick plain Glass complete in all respects. | 48 | Sft |  |  |
| 10 | Supply and fixing of Sandwich panel shed 4" thick (Sheet .45 mm) including pipe frame , complete in all respect as per direction of engineer incharge. | 120 | sft |  |  |
| 11 | Providing/Laying of CC type B using crushed or broken stone in as under layer for floor as specified. | 62.5 | cft |  |  |
| 12 | Providing / laying porcelain stile / master tiles 12" x16" or any approved size on wall & floor supreme quality of approved color and shade laid in white cement and grouting with pigment of matching color over 3/4" thick grey cement sand mortar (1:4) over excluding a bed of pcc 1:2:4 sub flooring complete in all respects. | 620 | sft |  |  |
| 13 | Guli Trap complete as per direction of engineer incharge . | 2 | Nos |  |  |
| 14 | Supply & fix,WC apparatus ,Indian type, Complete with P-Trap (Coupled set),comprising closet 13 lit flushing tank system ,in white color, seat cover complete set (IFO pattern or equivalent ,width not less than 380 mm) fixed to concrete, brick, stone or wood work ,best quality. | 2 | Nos |  |  |
| 15 | Supply & fix,WHB in White colour ,glazed ware ,660 mmx560mm (IFO pattern or equivalent) ,one hole, complete with waste pipe ,coupling, chain and plug etc (with hot and cool mixer) ,best quality fixed to concrete, brick, stone or wood work ,best quality. | 1 | Nos |  |  |
| 16 | Providing/Fixing of CP T stop cock 1/2" dia. | 6 | Nos |  |  |
| 17 | uPVC Pressure pipe ,150 mm dia ,Class B complete with all fittings like elbow, tee, socket etc Supply and fixing. | 150 | Rft |  |  |
| 18 | uPVC Pressure pipe ,100 mm dia ,Class B complete with all fittings like elbow, tee, socket etc Supply and fixing. | 100 | Rft |  |  |
| 19 | S / F Double bib cock CP 15 mm dia with Muslim shower complete. | 2 | Nos |  |  |
| 20 | S / F PPR pipe 25 mm dia for hot and cold water supply complete with all fittings like bend, socket, tee, elbow etc. | 100 | Rft |  |  |
| 21 | S / F PPR pipe 32 mm dia for hot and cold water supply complete with all fittings like bend, socket, tee, elbow etc. | 100 | Rft |  |  |
| 22 | S/F CP Towel Ring | 1 | No |  |  |
| 23 | S/F Soap Dish | 1 | No |  |  |
| 24 | Supply and fixing of Ball valve 1/2" | 5 | No |  |  |
| 25 | Supply and fixing of Ball valve 3/4" | 5 | No |  |  |
| 26 | S/F floor Trap 4" dia complete with CP grating. | 2 | No |  |  |
| 27 | Construction of manholes 4'x4'x4' complete. | 1 | No |  |  |
| 28 | S/F, gas and electric (dual) water heater complete with burner, pilot, thermostat and , electric heater , 20 gln capacity. | 1 | Each |  |  |
| 29 | S/F Hot and Cool mixer , complete in all respect for wazu khana | 8 | Nos |  |  |
| 30 | S/F PPR pipe 40mm dia | 80 | rft |  |  |
| 31 | S/F PPR tees 40x32 mm | 16 | No |  |  |
| 32 | S/F SS floor trap 4" dia , complete in all respect | 4 | No |  |  |
| 33 | S/F PPR Gate valve 32mm | 2 | Nos |  |  |
| 34 | Water tank made of fiber glass capacity 1000 liters, supply and fixing (Foodgrade brand). | 1 | No |  |  |
| 35 | Wiring of one light point, one fan point, one bell point controlled by one switch, wiring complete with PVC single core Pakistan Cable 1.5mm2 in concealed PVC conduit Supply and Fixing. | 8 | No |  |  |
| 36 | 4 Gang switch 10A 250 V supply and fixing (Clipsel). | 2 | each |  |  |
| 37 | Exhaust fan 12" metal body Royal made supply and fixing with louver | 2 | No |  |  |
| 38 | Supply and fixing LED lights 20, PHILIPS or PAK Light complete in all respet | 4 | No |  |  |
| G. Total Rs |  |  |  |  |  |

Anx “C”

Construction of Partition Wall

| S/No | Description | Qty | Unit | Rate (Rs) | Estimated Amount |
| --- | --- | --- | --- | --- | --- |
| 1 | Burnt brick work, in walls 115mm thick, laid and jointed in CM 1:6, Straight or to curve with inner radius of 6m and over, upto G.F roof level. | 530 | cft |  |  |
| 2 | Providing & Laying of RCC 3000 psi compressive cylindrical strength in roof slabs, landings, walls, plinth beams and bands etc , all as specified including form work (reinforcement measured and paid separately ) | 45 | cft |  |  |
| 3 | Supply & fix, bars round, using deformed bars Grade -60 incl cutting,bending,binding and placing reinforcement in Position. | 150 | kg |  |  |
| 4 | 13mm thick Cement Plaster 1:4 finished as specified. | 1450 | sft |  |  |
| 5 | Emulsion paint , complete store | 1 | Job |  |  |
| 6 | Electric work Switches, Sockets, Lights etc | 1 | Job |  |  |
| G. Total Rs |  |  |  |  |  |

a.	Total amount Anx “A”	Renovation of Admn Office 		Rs ___________________

b.	Total amount Anx “B”	Construction of 2x Bath Room 	Rs ___________________

with Wazu Khana at Masjid

c.	Total amount Anx “C”	Construction of Partition Wall 	Rs ___________________

G. Total Rs (Anx “A”+Anx “B”+Anx “C”)	Rs ___________________

Selection Criteria

Total mark 100

Passing Mark 70

| S/No |  | Valid PEC registration certificate. | List of professional staff. | List of similar works completed during last five years. | A certificate / Affidavit that the Firm / Contractor is not black-listed by any Govt / Authority and is not involved in litigation with any Govt Department / Autonomous Body. | Undertaking on stamp paper that bidder is the owner or proprietor of the firm / company who wish to participate in the tender. | Valid Registration Certificate with Income Tax / Sales Tax department (FBR). | Valid proof of financial health of contractor (fresh dully signed bank statement) a. Minimum balance Rs 10 Mn 40 b. Minimum balance Rs 07 Mn 20 c. Minimum balance Rs 05 Mn 10 | Existing work completion satisfactory certificate from concerned department | Detail of machinery / equipment Owned (10) Leased (07) Rented (03) | Marks Obtained | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | 5 | 5 | 20 | 5 | 5 | 5 | 40 | 5 | 10 |  |  |
| 1 |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |  |  |  |  |  |  |